## ARN
Station | THR-ID | SondeID | DateRecovered | Channel | Rating
ARN | THR-8 | 19C101658 | 2021-08-26 | Water Temp | Excellent
ARN | THR-8 | 19C101658 | 2021-08-26 | SpC | Excellent
ARN | THR-8 | 19C101658 | 2021-08-26 | DO | Excellent
ARN | THR-8 | 19C101658 | 2021-08-26 | pH
ARN | THR-8 | 19C101658 | 2021-08-26 | Turbidity | Excellent
ARN | THR-9 | 19C101659 | 2021-10-14 | Water Temp | Max Limit
ARN | THR-9 | 19C101659 | 2021-10-14 | SpC | Excellent
ARN | THR-9 | 19C101659 | 2021-10-14 | DO | Excellent
ARN | THR-9 | 19C101659 | 2021-10-14 | pH
ARN | THR-9 | 19C101659 | 2021-10-14 | Turbidity
ARN | THR-8 | 19C101658 | 2021-11-19 | Water Temp | Poor
ARN | THR-8 | 19C101658 | 2021-11-19 | SpC | Fair
ARN | THR-8 | 19C101658 | 2021-11-19 | DO | Excellent
ARN | THR-8 | 19C101658 | 2021-11-19 | pH
ARN | THR-8 | 19C101658 | 2021-11-19 | Turbidity | Excellent
ARN | THR-9 | 19C101659 | 2021-12-17 | Water Temp | Excellent
ARN | THR-9 | 19C101659 | 2021-12-17 | SpC | Excellent
ARN | THR-9 | 19C101659 | 2021-12-17 | DO | Excellent
ARN | THR-9 | 19C101659 | 2021-12-17 | pH
ARN | THR-9 | 19C101659 | 2021-12-17 | Turbidity | Excellent
ARN | THR-8 | 19C101658 | 2022-01-26 | Water Temp | Excellent
ARN | THR-8 | 19C101658 | 2022-01-26 | SpC | Excellent
ARN | THR-8 | 19C101658 | 2022-01-26 | DO | Excellent
ARN | THR-8 | 19C101658 | 2022-01-26 | pH
ARN | THR-8 | 19C101658 | 2022-01-26 | Turbidity | Good
ARN | THR-9 | 19C101659 | 2022-03-01 | Water Temp | Good
ARN | THR-9 | 19C101659 | 2022-03-01 | SpC | Max Limit
ARN | THR-9 | 19C101659 | 2022-03-01 | DO | Excellent
ARN | THR-9 | 19C101659 | 2022-03-01 | pH
ARN | THR-9 | 19C101659 | 2022-03-01 | Turbidity | Excellent
ARN | THR-8 | 19C101658 | 2022-04-07 | Water Temp | Max Limit
ARN | THR-8 | 19C101658 | 2022-04-07 | SpC | Excellent
ARN | THR-8 | 19C101658 | 2022-04-07 | DO | Good
ARN | THR-8 | 19C101658 | 2022-04-07 | pH
ARN | THR-8 | 19C101658 | 2022-04-07 | Turbidity | Excellent
ARN | THR-17 | 21L101261 | 2022-05-19 | Water Temp | Good
ARN | THR-17 | 21L101261 | 2022-05-19 | SpC | Excellent
ARN | THR-17 | 21L101261 | 2022-05-19 | DO | Excellent
ARN | THR-17 | 21L101261 | 2022-05-19 | pH | Excellent
ARN | THR-17 | 21L101261 | 2022-05-19 | Turbidity | Excellent
ARN | THR-13 | 21L101256 | 2022-06-30 | Water Temp | Excellent
ARN | THR-13 | 21L101256 | 2022-06-30 | SpC | Excellent
ARN | THR-13 | 21L101256 | 2022-06-30 | DO | Excellent
ARN | THR-13 | 21L101256 | 2022-06-30 | pH | Excellent
ARN | THR-13 | 21L101256 | 2022-06-30 | Turbidity | Good
ARN | THR-14 | 21L101254 | 2022-08-02 | Water Temp | Excellent
ARN | THR-14 | 21L101254 | 2022-08-02 | SpC | Excellent
ARN | THR-14 | 21L101254 | 2022-08-02 | DO | Fair
ARN | THR-14 | 21L101254 | 2022-08-02 | pH | Excellent
ARN | THR-14 | 21L101254 | 2022-08-02 | Turbidity | Good
ARN | THR-20 | 21L101264 | 2022-10-11 | Water Temp | Excellent
ARN | THR-20 | 21L101264 | 2022-10-11 | SpC | Excellent
ARN | THR-20 | 21L101264 | 2022-10-11 | DO | Excellent
ARN | THR-20 | 21L101264 | 2022-10-11 | pH | Excellent
ARN | THR-20 | 21L101264 | 2022-10-11 | Turbidity | Fair
ARN | THR-19 | 21L101258 | 2022-11-17 | Water Temp | Excellent
ARN | THR-19 | 21L101258 | 2022-11-17 | SpC | Excellent
ARN | THR-19 | 21L101258 | 2022-11-17 | DO | Excellent
ARN | THR-19 | 21L101258 | 2022-11-17 | pH | Good
ARN | THR-19 | 21L101258 | 2022-11-17 | Turbidity | Max Limit
ARN | THR-17 | 21L101261 | 2022-12-20 | Water Temp | Excellent
ARN | THR-17 | 21L101261 | 2022-12-20 | SpC | Excellent
ARN | THR-17 | 21L101261 | 2022-12-20 | DO | Excellent
ARN | THR-17 | 21L101261 | 2022-12-20 | pH | Excellent
ARN | THR-17 | 21L101261 | 2022-12-20 | Turbidity | Poor
ARN | THR-19 | 21L101258 | 2023-02-02 | Water Temp | Excellent
ARN | THR-19 | 21L101258 | 2023-02-02 | SpC | Excellent
ARN | THR-19 | 21L101258 | 2023-02-02 | DO | Excellent
ARN | THR-19 | 21L101258 | 2023-02-02 | pH | Excellent
ARN | THR-19 | 21L101258 | 2023-02-02 | Turbidity | Excellent
ARN | THR-14 | 21L101254 | 2023-03-17 | Water Temp | Excellent
ARN | THR-14 | 21L101254 | 2023-03-17 | SpC | Excellent
ARN | THR-14 | 21L101254 | 2023-03-17 | DO | Excellent
ARN | THR-14 | 21L101254 | 2023-03-17 | pH | Excellent
ARN | THR-14 | 21L101254 | 2023-03-17 | Turbidity | Fair
ARN | THR-11 | 21L101262 | 2023-05-03 | Water Temp | Excellent
ARN | THR-11 | 21L101262 | 2023-05-03 | SpC | Excellent
ARN | THR-11 | 21L101262 | 2023-05-03 | DO | Excellent
ARN | THR-11 | 21L101262 | 2023-05-03 | pH | Good
ARN | THR-11 | 21L101262 | 2023-05-03 | Turbidity | Fair
ARN | THR-15 | 21L101259 | 2023-06-06 | Water Temp | Excellent
ARN | THR-15 | 21L101259 | 2023-06-06 | SpC | Excellent
ARN | THR-15 | 21L101259 | 2023-06-06 | DO | Excellent
ARN | THR-15 | 21L101259 | 2023-06-06 | pH | Excellent
ARN | THR-15 | 21L101259 | 2023-06-06 | Turbidity | Good
ARN | THR-13 | 21L101256 | 2023-07-13 | Water Temp | Excellent
ARN | THR-13 | 21L101256 | 2023-07-13 | SpC | Excellent
ARN | THR-13 | 21L101256 | 2023-07-13 | DO | Excellent
ARN | THR-13 | 21L101256 | 2023-07-13 | pH | Excellent
ARN | THR-13 | 21L101256 | 2023-07-13 | Turbidity | Good
ARN | THR-16 | 21L101260 | 2023-08-09 | Water Temp | Excellent
ARN | THR-16 | 21L101260 | 2023-08-09 | SpC | Excellent
ARN | THR-16 | 21L101260 | 2023-08-09 | DO | Excellent
ARN | THR-16 | 21L101260 | 2023-08-09 | pH | Excellent
ARN | THR-16 | 21L101260 | 2023-08-09 | Turbidity | Excellent
ARN | THR-21 | 21L101265 | 2023-09-07 | Water Temp | Excellent
ARN | THR-21 | 21L101266 | 2023-09-08 | SpC | Excellent
ARN | THR-21 | 21L101267 | 2023-09-09 | DO | Excellent
ARN | THR-21 | 21L101268 | 2023-09-10 | pH | Excellent
ARN | THR-21 | 21L101269 | 2023-09-11 | Turbidity | Excellent
ARN | THR-16 | 21L101260 | 2023-10-18 | Water Temp | Excellent
ARN | THR-16 | 21L101260 | 2023-10-18 | SpC | Excellent
ARN | THR-16 | 21L101260 | 2023-10-18 | DO | Excellent
ARN | THR-16 | 21L101260 | 2023-10-18 | pH | Excellent
ARN | THR-16 | 21L101260 | 2023-10-18 | Turbidity | Fair
ARN | THR-22 | 23H107029 | 2023-11-21 | Water Temp | Excellent
ARN | THR-22 | 23H107029 | 2023-11-21 | SpC | Excellent
ARN | THR-22 | 23H107029 | 2023-11-21 | DO | Max Limit
ARN | THR-22 | 23H107029 | 2023-11-21 | pH | Excellent
ARN | THR-22 | 23H107029 | 2023-11-21 | Turbidity | Excellent
ARN | THR-13 | 21L101256 | 2023-12-19 | Water Temp | Excellent
ARN | THR-13 | 21L101256 | 2023-12-19 | SpC | Excellent
ARN | THR-13 | 21L101256 | 2023-12-19 | DO | Excellent
ARN | THR-13 | 21L101256 | 2023-12-19 | pH | Excellent
ARN | THR-13 | 21L101256 | 2023-12-19 | Turbidity | Poor
Note on C1: Cox, Daniel@Wildlife: Full serial number on sonde body
Note on D1: Cox, Daniel@Wildlife: YYYY-MM-DD

## BRD
Station | THR-ID | SondeID | DateRecovered | Channel | Rating
BRD | THR-12 | 21L101263 | 2022-06-30 | Water Temp | Fair
BRD | THR-12 | 21L101263 | 2022-06-30 | SpC | Excellent
BRD | THR-12 | 21L101263 | 2022-06-30 | DO | Excellent
BRD | THR-12 | 21L101263 | 2022-06-30 | pH
BRD | THR-12 | 21L101263 | 2022-06-30 | Turbidity | Good
BRD | THR-18 | 21L101255 | 2022-08-02 | Water Temp | Good
BRD | THR-18 | 21L101255 | 2022-08-02 | SpC | Excellent
BRD | THR-18 | 21L101255 | 2022-08-02 | DO | Excellent
BRD | THR-18 | 21L101255 | 2022-08-02 | pH | Excellent
BRD | THR-18 | 21L101255 | 2022-08-02 | Turbidity | Excellent
BRD | THR-12 | 21L101263 | 2022-09-13 | Water Temp | Excellent
BRD | THR-12 | 21L101263 | 2022-09-13 | SpC | Excellent
BRD | THR-12 | 21L101263 | 2022-09-13 | DO | Poor
BRD | THR-12 | 21L101263 | 2022-09-13 | pH | Good
BRD | THR-12 | 21L101263 | 2022-09-13 | Turbidity | Poor
BRD | THR-16 | 21L101260 | 2022-10-11 | Water Temp | Excellent
BRD | THR-16 | 21L101260 | 2022-10-11 | SpC | Excellent
BRD | THR-16 | 21L101260 | 2022-10-11 | DO | Excellent
BRD | THR-16 | 21L101260 | 2022-10-11 | pH | Excellent
BRD | THR-16 | 21L101260 | 2022-10-11 | Turbidity | Excellent
BRD | THR-11 | 21L101262 | 2022-11-17 | Water Temp | Excellent
BRD | THR-11 | 21L101262 | 2022-11-17 | SpC | Excellent
BRD | THR-11 | 21L101262 | 2022-11-17 | DO | Excellent
BRD | THR-11 | 21L101262 | 2022-11-17 | pH | Excellent
BRD | THR-11 | 21L101262 | 2022-11-17 | Turbidity | Good
BRD | THR-14 | 21L101254 | 2022-12-20 | Water Temp | Good
BRD | THR-14 | 21L101254 | 2022-12-20 | SpC | Excellent
BRD | THR-14 | 21L101254 | 2022-12-20 | DO | Excellent
BRD | THR-14 | 21L101254 | 2022-12-20 | pH | Excellent
BRD | THR-14 | 21L101254 | 2022-12-20 | Turbidity | Excellent
BRD | THR-11 | 21L101262 | 2023-02-02 | Water Temp | Excellent
BRD | THR-11 | 21L101262 | 2023-02-02 | SpC | Excellent
BRD | THR-11 | 21L101262 | 2023-02-02 | DO | Excellent
BRD | THR-11 | 21L101262 | 2023-02-02 | pH | Excellent
BRD | THR-11 | 21L101262 | 2023-02-02 | Turbidity | Excellent
BRD | THR-18 | 21L101255 | 2023-03-17 | Water Temp | Excellent
BRD | THR-18 | 21L101255 | 2023-03-17 | SpC | Excellent
BRD | THR-18 | 21L101255 | 2023-03-17 | DO | Excellent
BRD | THR-18 | 21L101255 | 2023-03-17 | pH | Excellent
BRD | THR-18 | 21L101255 | 2023-03-17 | Turbidity | Excellent
BRD | THR-21 | 21L101265 | 2023-05-03 | Water Temp | Excellent
BRD | THR-21 | 21L101265 | 2023-05-03 | SpC | Excellent
BRD | THR-21 | 21L101265 | 2023-05-03 | DO | Excellent
BRD | THR-21 | 21L101265 | 2023-05-03 | pH | Excellent
BRD | THR-21 | 21L101265 | 2023-05-03 | Turbidity | Fair
BRD | THR-16 | 21L101260 | 2023-06-06 | Water Temp | Good
BRD | THR-16 | 21L101260 | 2023-06-06 | SpC | Good
BRD | THR-16 | 21L101260 | 2023-06-06 | DO | Excellent
BRD | THR-16 | 21L101260 | 2023-06-06 | pH | Excellent
BRD | THR-16 | 21L101260 | 2023-06-06 | Turbidity | Fair
BRD | THR-14 | 21L101254 | 2023-07-13 | Water Temp | Excellent
BRD | THR-14 | 21L101254 | 2023-07-13 | SpC | Excellent
BRD | THR-14 | 21L101254 | 2023-07-13 | DO | Excellent
BRD | THR-14 | 21L101254 | 2023-07-13 | pH | Excellent
BRD | THR-14 | 21L101254 | 2023-07-13 | Turbidity | Excellent
BRD | THR-11 | 21L101262 | 2023-08-17 | Water Temp | Excellent
BRD | THR-11 | 21L101262 | 2023-08-17 | SpC | Excellent
BRD | THR-11 | 21L101262 | 2023-08-17 | DO | Excellent
BRD | THR-11 | 21L101262 | 2023-08-17 | pH | Excellent
BRD | THR-11 | 21L101262 | 2023-08-17 | Turbidity | Poor
BRD | THR-12 | 21L101263 | 2023-09-07 | Water Temp | Excellent
BRD | THR-12 | 21L101263 | 2023-09-07 | SpC | Excellent
BRD | THR-12 | 21L101263 | 2023-09-07 | DO | Excellent
BRD | THR-12 | 21L101263 | 2023-09-07 | pH | Good
BRD | THR-12 | 21L101263 | 2023-09-07 | Turbidity | Good
BRD | THR-18 | 21L101255 | 2023-10-17 | Water Temp | Excellent
BRD | THR-18 | 21L101255 | 2023-10-17 | SpC | Excellent
BRD | THR-18 | 21L101255 | 2023-10-17 | DO | Excellent
BRD | THR-18 | 21L101255 | 2023-10-17 | pH | Excellent
BRD | THR-18 | 21L101255 | 2023-10-17 | Turbidity | Excellent
BRD | THR-23 | 23H107030 | 2023-11-21 | Water Temp | Excellent
BRD | THR-23 | 23H107030 | 2023-11-21 | SpC | Excellent
BRD | THR-23 | 23H107030 | 2023-11-21 | DO | Excellent
BRD | THR-23 | 23H107030 | 2023-11-21 | pH | Excellent
BRD | THR-23 | 23H107030 | 2023-11-21 | Turbidity | Excellent
BRD | THR-16 | 21L101260 | 2023-12-19 | Water Temp | Excellent
BRD | THR-16 | 21L101260 | 2023-12-19 | SpC | Excellent
BRD | THR-16 | 21L101260 | 2023-12-19 | DO | Excellent
BRD | THR-16 | 21L101260 | 2023-12-19 | pH | Excellent
BRD | THR-16 | 21L101260 | 2023-12-19 | Turbidity | Good
Note on C1: Cox, Daniel@Wildlife: Full serial number on sonde body
Note on D1: Cox, Daniel@Wildlife: YYYY-MM-DD

## LYR
Station | THR-ID | SondeID | DateRecovered | Channel | Rating
LYR | THR-24 | 23H107031 | 2023-10-31 | Water Temp | Excellent
LYR | THR-24 | 23H107031 | 2023-10-31 | SpC | Excellent
LYR | THR-24 | 23H107031 | 2023-10-31 | DO | Excellent
LYR | THR-24 | 23H107031 | 2023-10-31 | pH | Excellent
LYR | THR-24 | 23H107031 | 2023-10-31 | Turbidity | Fair
Note on C1: Cox, Daniel@Wildlife: Full serial number on sonde body
Note on D1: Cox, Daniel@Wildlife: YYYY-MM-DD

## TRC
Station | THR-ID | SondeID | DateRecovered | Channel | Rating
TRC | THR-18 | 21L101255 | 2022-05-12 | Water Temp | Excellent
TRC | THR-18 | 21L101255 | 2022-05-12 | SpC | Excellent
TRC | THR-18 | 21L101255 | 2022-05-12 | DO | Excellent
TRC | THR-18 | 21L101255 | 2022-05-12 | pH | Excellent
TRC | THR-18 | 21L101255 | 2022-05-12 | Turbidity | Good
TRC | THR-16 | 21L101260 | 2022-06-23 | Water Temp | Good
TRC | THR-16 | 21L101260 | 2022-06-23 | SpC | Excellent
TRC | THR-16 | 21L101260 | 2022-06-23 | DO | Excellent
TRC | THR-16 | 21L101260 | 2022-06-23 | pH | Excellent
TRC | THR-16 | 21L101260 | 2022-06-23 | Turbidity | Excellent
TRC | THR-19 | 21L101258 | 2022-09-22 | Water Temp | Excellent
TRC | THR-19 | 21L101258 | 2022-09-22 | SpC | Excellent
TRC | THR-19 | 21L101258 | 2022-09-22 | DO | Excellent
TRC | THR-19 | 21L101258 | 2022-09-22 | pH | Excellent
TRC | THR-19 | 21L101258 | 2022-09-22 | Turbidity | Excellent
TRC | THR-14 | 21L101254 | 2022-10-18 | Water Temp | Excellent
TRC | THR-14 | 21L101254 | 2022-10-18 | SpC | Excellent
TRC | THR-14 | 21L101254 | 2022-10-18 | DO | Excellent
TRC | THR-14 | 21L101254 | 2022-10-18 | pH | Excellent
TRC | THR-14 | 21L101254 | 2022-10-18 | Turbidity | Excellent
TRC | THR-15 | 21L101259 | 2022-11-22 | Water Temp | Excellent
TRC | THR-15 | 21L101259 | 2022-11-22 | SpC | Excellent
TRC | THR-15 | 21L101259 | 2022-11-22 | DO | Excellent
TRC | THR-15 | 21L101259 | 2022-11-22 | pH | Good
TRC | THR-15 | 21L101259 | 2022-11-22 | Turbidity | Fair
TRC | THR-13 | 21L101256 | 2022-12-29 | Water Temp | Good
TRC | THR-13 | 21L101256 | 2022-12-29 | SpC | Excellent
TRC | THR-13 | 21L101256 | 2022-12-29 | DO | Excellent
TRC | THR-13 | 21L101256 | 2022-12-29 | pH | Excellent
TRC | THR-13 | 21L101256 | 2022-12-29 | Turbidity | Fair
TRC | THR-16 | 21L101260 | 2023-02-07 | Water Temp | Excellent
TRC | THR-16 | 21L101260 | 2023-02-07 | SpC | Fair
TRC | THR-16 | 21L101260 | 2023-02-07 | DO | Excellent
TRC | THR-16 | 21L101260 | 2023-02-07 | pH | Excellent
TRC | THR-16 | 21L101260 | 2023-02-07 | Turbidity | Excellent
TRC | THR-10 | 21L101257 | 2023-03-16 | Water Temp | Excellent
TRC | THR-10 | 21L101257 | 2023-03-16 | SpC | Excellent
TRC | THR-10 | 21L101257 | 2023-03-16 | DO | Excellent
TRC | THR-10 | 21L101257 | 2023-03-16 | pH | Excellent
TRC | THR-10 | 21L101257 | 2023-03-16 | Turbidity | Excellent
TRC | THR-12 | 21L101263 | 2023-04-25 | Water Temp | Good
TRC | THR-12 | 21L101263 | 2023-04-25 | SpC | Excellent
TRC | THR-12 | 21L101263 | 2023-04-25 | DO | Excellent
TRC | THR-12 | 21L101263 | 2023-04-25 | pH | Excellent
TRC | THR-12 | 21L101263 | 2023-04-25 | Turbidity | Excellent
TRC | THR-13 | 21L101256 | 2023-06-01 | Water Temp | Excellent
TRC | THR-13 | 21L101256 | 2023-06-01 | SpC | Good
TRC | THR-13 | 21L101256 | 2023-06-01 | DO | Excellent
TRC | THR-13 | 21L101256 | 2023-06-01 | pH | Excellent
TRC | THR-13 | 21L101256 | 2023-06-01 | Turbidity | Good
TRC | THR-10 | 21L101257 | 2023-07-11 | Water Temp | Excellent
TRC | THR-10 | 21L101257 | 2023-07-11 | SpC | Excellent
TRC | THR-10 | 21L101257 | 2023-07-11 | DO | Good
TRC | THR-10 | 21L101257 | 2023-07-11 | pH | Excellent
TRC | THR-10 | 21L101257 | 2023-07-11 | Turbidity | Good
TRC | THR-19 | 21L101258 | 2023-08-14 | Water Temp | Excellent
TRC | THR-19 | 21L101258 | 2023-08-14 | SpC | Excellent
TRC | THR-19 | 21L101258 | 2023-08-14 | DO | Excellent
TRC | THR-19 | 21L101258 | 2023-08-14 | pH | Excellent
TRC | THR-19 | 21L101258 | 2023-08-14 | Turbidity | Excellent
TRC | THR-14 | 21L101254 | 2023-09-25 | Water Temp | Excellent
TRC | THR-14 | 21L101254 | 2023-09-25 | SpC | Fair
TRC | THR-14 | 21L101254 | 2023-09-25 | DO | Excellent
TRC | THR-14 | 21L101254 | 2023-09-25 | pH | Excellent
TRC | THR-14 | 21L101254 | 2023-09-25 | Turbidity | Excellent
TRC | THR-17 | 21L101261 | 2023-10-24 | Water Temp | Excellent
TRC | THR-17 | 21L101261 | 2023-10-24 | SpC | Excellent
TRC | THR-17 | 21L101261 | 2023-10-24 | DO | Excellent
TRC | THR-17 | 21L101261 | 2023-10-24 | pH | Excellent
TRC | THR-17 | 21L101261 | 2023-10-24 | Turbidity | Fair
TRC | THR-12 | 21L101263 | 2023-11-28 | Water Temp | Excellent
TRC | THR-12 | 21L101263 | 2023-11-28 | SpC | Excellent
TRC | THR-12 | 21L101263 | 2023-11-28 | DO | Excellent
TRC | THR-12 | 21L101263 | 2023-11-28 | pH | Excellent
TRC | THR-12 | 21L101263 | 2023-11-28 | Turbidity | Fair
Note on C1: Cox, Daniel@Wildlife: Full serial number on sonde body
Note on D1: Cox, Daniel@Wildlife: YYYY-MM-DD

## TRB_TRM
Station | THR-ID | SondeID | DateRecovered | Channel | Rating
TRB | THR-11 | 21L101262 | 2022-05-12 | Water Temp | Excellent
TRB | THR-11 | 21L101262 | 2022-05-12 | SpC | Max. Limit
TRB | THR-11 | 21L101262 | 2022-05-12 | DO | Excellent
TRB | THR-11 | 21L101262 | 2022-05-12 | pH | Good
TRB | THR-11 | 21L101262 | 2022-05-12 | Turbidity | Max. Limit
TRB | THR-16 | 21L101260 | 2022-11-21 | Water Temp | Excellent
TRB | THR-16 | 21L101260 | 2022-11-21 | SpC | Excellent
TRB | THR-16 | 21L101260 | 2022-11-21 | DO | Excellent
TRB | THR-16 | 21L101260 | 2022-11-21 | pH | Excellent
TRB | THR-16 | 21L101260 | 2022-11-21 | Turbidity | Excellent
TRB | THR-20 | 21L101264 | 2023-01-19 | Water Temp | Excellent
TRB | THR-20 | 21L101264 | 2023-01-19 | SpC | Excellent
TRB | THR-20 | 21L101264 | 2023-01-19 | DO | Excellent
TRB | THR-20 | 21L101264 | 2023-01-19 | pH | Excellent
TRB | THR-20 | 21L101264 | 2023-01-19 | Turbidity | Excellent
TRB | THR-20 | 21L101264 | 2023-01-19 | Water Temp | Excellent
TRB | THR-12 | 21L101263 | 2023-02-28 | SpC | Good
TRB | THR-12 | 21L101263 | 2023-02-28 | DO | Excellent
TRB | THR-12 | 21L101263 | 2023-02-28 | pH | Excellent
TRB | THR-12 | 21L101263 | 2023-02-28 | Turbidity | Fair
TRB | THR-16 | 21L101260 | 2023-04-04 | Water Temp | Excellent
TRB | THR-16 | 21L101260 | 2023-04-04 | SpC | Excellent
TRB | THR-16 | 21L101260 | 2023-04-04 | DO | Excellent
TRB | THR-16 | 21L101260 | 2023-04-04 | pH | Excellent
TRB | THR-16 | 21L101260 | 2023-04-04 | Turbidity | Excellent
TRB | THR-10 | 21L101257 | 2023-05-11 | Water Temp | Excellent
TRB | THR-10 | 21L101257 | 2023-05-11 | SpC | Excellent
TRB | THR-10 | 21L101257 | 2023-05-11 | DO | Excellent
TRB | THR-10 | 21L101257 | 2023-05-11 | pH | Excellent
TRB | THR-10 | 21L101257 | 2023-05-11 | Turbidity | Fair
TRB | THR-17 | 21L101260 | 2023-06-22 | Water Temp | Excellent
TRB | THR-17 | 21L101260 | 2023-06-22 | SpC | Excellent
TRB | THR-17 | 21L101260 | 2023-06-22 | DO | Excellent
TRB | THR-17 | 21L101260 | 2023-06-22 | pH | Excellent
TRB | THR-17 | 21L101260 | 2023-06-22 | Turbidity | Excellent
TRB | THR-18 | 21L101255 | 2023-07-25 | Water Temp | Excellent
TRB | THR-18 | 21L101255 | 2023-07-25 | SpC | Good
TRB | THR-18 | 21L101255 | 2023-07-25 | DO | Excellent
TRB | THR-18 | 21L101255 | 2023-07-25 | pH | Excellent
TRB | THR-18 | 21L101255 | 2023-07-25 | Turbidity | Poor
TRB | THR-20 | 21L101264 | 2023-08-07 | Water Temp | Excellent
TRB | THR-20 | 21L101264 | 2023-08-07 | SpC | Excellent
TRB | THR-20 | 21L101264 | 2023-08-07 | DO | Excellent
TRB | THR-20 | 21L101264 | 2023-08-07 | pH | Excellent
TRB | THR-20 | 21L101264 | 2023-08-07 | Turbidity | Good
TRB | THR-10 | 21L101257 | 2023-09-06 | Water Temp | Excellent
TRB | THR-10 | 21L101257 | 2023-09-06 | SpC | Good
TRB | THR-10 | 21L101257 | 2023-09-06 | DO | Excellent
TRB | THR-10 | 21L101257 | 2023-09-06 | pH | Excellent
TRB | THR-10 | 21L101257 | 2023-09-06 | Turbidity | Good
TRM | THR-13 | 21L101256 | 2023-10-24 | Water Temp | Excellent
TRM | THR-13 | 21L101256 | 2023-10-24 | SpC | Excellent
TRM | THR-13 | 21L101256 | 2023-10-24 | DO | Excellent
TRM | THR-13 | 21L101256 | 2023-10-24 | pH | Excellent
TRM | THR-13 | 21L101256 | 2023-10-24 | Turbidity | Excellent
TRM | THR-11 | 21L101262 | 2023-11-14 | Water Temp | Excellent
TRM | THR-11 | 21L101262 | 2023-11-14 | SpC | Excellent
TRM | THR-11 | 21L101262 | 2023-11-14 | DO | Excellent
TRM | THR-11 | 21L101262 | 2023-11-14 | pH | Excellent
TRM | THR-11 | 21L101262 | 2023-11-14 | Turbidity | Excellent
TRM | THR-20 | 21L101264 | 2023-12-21 | Water Temp | Excellent
TRM | THR-20 | 21L101264 | 2023-12-21 | SpC | Excellent
TRM | THR-20 | 21L101264 | 2023-12-21 | DO | Excellent
TRM | THR-20 | 21L101264 | 2023-12-21 | pH | Excellent
TRM | THR-20 | 21L101264 | 2023-12-21 | Turbidity | Excellent
Note on C1: Cox, Daniel@Wildlife: Full serial number on sonde body
Note on D1: Cox, Daniel@Wildlife: YYYY-MM-DD

## WNG
Station | THR-ID | SondeID | DateRecovered | Channel | Rating
WNG | THR-19 | 21L101258 | 2023-04-06 | Water Temp | Excellent
WNG | THR-19 | 21L101258 | 2023-04-06 | SpC | Excellent
WNG | THR-19 | 21L101258 | 2023-04-06 | DO | Excellent
WNG | THR-19 | 21L101258 | 2023-04-06 | pH | Excellent
WNG | THR-19 | 21L101258 | 2023-04-06 | Turbidity | Good
WNG | THR-18 | 21L101255 | 2023-05-16 | Water Temp | Excellent
WNG | THR-18 | 21L101255 | 2023-05-16 | SpC | Good
WNG | THR-18 | 21L101255 | 2023-05-16 | DO | Excellent
WNG | THR-18 | 21L101255 | 2023-05-16 | pH | Excellent
WNG | THR-18 | 21L101255 | 2023-05-16 | Turbidity | Excellent
WNG | THR-11 | 21L101262 | 2023-06-20 | Water Temp | Excellent
WNG | THR-11 | 21L101262 | 2023-06-20 | SpC | Excellent
WNG | THR-11 | 21L101262 | 2023-06-20 | DO | Excellent
WNG | THR-11 | 21L101262 | 2023-06-20 | pH | Excellent
WNG | THR-11 | 21L101262 | 2023-06-20 | Turbidity | Good
WNG | THR-21 | 21L101265 | 2023-07-25 | Water Temp | Excellent
WNG | THR-21 | 21L101265 | 2023-07-25 | SpC | Excellent
WNG | THR-21 | 21L101265 | 2023-07-25 | DO | Excellent
WNG | THR-21 | 21L101265 | 2023-07-25 | pH | Excellent
WNG | THR-21 | 21L101265 | 2023-07-25 | Turbidity | Poor
WNG | THR-14 | 21L101254 | 2023-08-07 | Water Temp | Excellent
WNG | THR-14 | 21L101254 | 2023-08-07 | SpC | Excellent
WNG | THR-14 | 21L101254 | 2023-08-07 | DO | Excellent
WNG | THR-14 | 21L101254 | 2023-08-07 | pH | Excellent
WNG | THR-14 | 21L101254 | 2023-08-07 | Turbidity | Excellent
WNG | THR-17 | 21L101261 | 2023-09-06 | Water Temp | Excellent
WNG | THR-17 | 21L101261 | 2023-09-06 | SpC | Max. Limit
WNG | THR-17 | 21L101261 | 2023-09-06 | DO | Excellent
WNG | THR-17 | 21L101261 | 2023-09-06 | pH | Excellent
WNG | THR-17 | 21L101261 | 2023-09-06 | Turbidity | Fair
WNG | THR-20 | 21L101264 | 2023-10-27 | Water Temp | Excellent
WNG | THR-20 | 21L101264 | 2023-10-27 | SpC | Excellent
WNG | THR-20 | 21L101264 | 2023-10-27 | DO | Good
WNG | THR-20 | 21L101264 | 2023-10-27 | pH | Excellent
WNG | THR-20 | 21L101264 | 2023-10-27 | Turbidity | Excellent
WNG | THR-19 | 21L101258 | 2023-11-14 | Water Temp | Good
WNG | THR-19 | 21L101258 | 2023-11-14 | SpC | Excellent
WNG | THR-19 | 21L101258 | 2023-11-14 | DO | Excellent
WNG | THR-19 | 21L101258 | 2023-11-14 | pH | Excellent
WNG | THR-19 | 21L101258 | 2023-11-14 | Turbidity | Good
WNG | THR-18 | 21L101255 | 2023-12-12 | Water Temp | Excellent
WNG | THR-18 | 21L101255 | 2023-12-12 | SpC | Excellent
WNG | THR-18 | 21L101255 | 2023-12-12 | DO | Excellent
WNG | THR-18 | 21L101255 | 2023-12-12 | pH
WNG | THR-18 | 21L101255 | 2023-12-12 | Turbidity | Excellent
Note on C1: Cox, Daniel@Wildlife: Full serial number on sonde body
Note on D1: Cox, Daniel@Wildlife: YYYY-MM-DD

## WNT
Station | THR-ID | SondeID | DateRecovered | Channel | Rating
WNT | THR-17 | 21L101261 | 2023-03-09 | Water Temp | Excellent
WNT | THR-17 | 21L101261 | 2023-03-09 | SpC | Excellent
WNT | THR-17 | 21L101261 | 2023-03-09 | DO | Excellent
WNT | THR-17 | 21L101261 | 2023-03-09 | pH | Excellent
WNT | THR-17 | 21L101261 | 2023-03-09 | Turbidity | Good
WNT | THR-15 | 21L101259 | 2023-04-19 | Water Temp | Excellent
WNT | THR-15 | 21L101259 | 2023-04-19 | SpC | Excellent
WNT | THR-15 | 21L101259 | 2023-04-19 | DO | Good
WNT | THR-15 | 21L101259 | 2023-04-19 | pH | Excellent
WNT | THR-15 | 21L101259 | 2023-04-19 | Turbidity | Excellent
WNT | THR-19 | 21L101258 | 2023-05-25 | Water Temp | Excellent
WNT | THR-19 | 21L101258 | 2023-05-25 | SpC | Excellent
WNT | THR-19 | 21L101258 | 2023-05-25 | DO | Excellent
WNT | THR-19 | 21L101258 | 2023-05-25 | pH | Good
WNT | THR-19 | 21L101258 | 2023-05-25 | Turbidity | Good
WNT | THR-12 | 21L101263 | 2023-06-15 | Water Temp | Excellent
WNT | THR-12 | 21L101263 | 2023-06-15 | SpC | Excellent
WNT | THR-12 | 21L101263 | 2023-06-15 | DO | Excellent
WNT | THR-12 | 21L101263 | 2023-06-15 | pH | Excellent
WNT | THR-12 | 21L101263 | 2023-06-15 | Turbidity | Good
WNT | THR-20 | 21L101264 | 2023-07-18 | Water Temp | Excellent
WNT | THR-20 | 21L101264 | 2023-07-18 | SpC | Excellent
WNT | THR-20 | 21L101264 | 2023-07-18 | DO | Excellent
WNT | THR-20 | 21L101264 | 2023-07-18 | pH | Excellent
WNT | THR-20 | 21L101264 | 2023-07-18 | Turbidity | Fair
WNT | THR-15 | 21L101259 | 2023-08-24 | Water Temp | Excellent
WNT | THR-15 | 21L101259 | 2023-08-24 | SpC | Excellent
WNT | THR-15 | 21L101259 | 2023-08-24 | DO | Excellent
WNT | THR-15 | 21L101259 | 2023-08-24 | pH | Excellent
WNT | THR-15 | 21L101259 | 2023-08-24 | Turbidity | Excellent
WNT | THR-11 | 21L101262 | 2023-09-26 | Water Temp | Excellent
WNT | THR-11 | 21L101262 | 2023-09-26 | SpC | Excellent
WNT | THR-11 | 21L101262 | 2023-09-26 | DO | Good
WNT | THR-11 | 21L101262 | 2023-09-26 | pH | Excellent
WNT | THR-11 | 21L101262 | 2023-09-26 | Turbidity | Poor
WNT | THR-21 | 21L101265 | 2023-10-26 | Water Temp | Excellent
WNT | THR-21 | 21L101265 | 2023-10-26 | SpC | Excellent
WNT | THR-21 | 21L101265 | 2023-10-26 | DO | Excellent
WNT | THR-21 | 21L101265 | 2023-10-26 | pH | Excellent
WNT | THR-21 | 21L101265 | 2023-10-26 | Turbidity | Fair
WNT | THR-10 | 21L101257 | 2023-12-06 | Water Temp | Excellent
WNT | THR-10 | 21L101257 | 2023-12-06 | SpC | Excellent
WNT | THR-10 | 21L101257 | 2023-12-06 | DO | Excellent
WNT | THR-10 | 21L101257 | 2023-12-06 | pH | Excellent
WNT | THR-10 | 21L101257 | 2023-12-06 | Turbidity | Fair
Note on C1: Cox, Daniel@Wildlife: Full serial number on sonde body
Note on D1: Cox, Daniel@Wildlife: YYYY-MM-DD